# Business Requirements Specification (BRS) for Municipal Water Balancing for PRASA

Document Revision History:

| Date | Version Number | Author | Comments |
| --- | --- | --- | --- |
| 2025/06/12 | 2025/06/12 V1.0 | Eben van der Merwe | Pending updates by Business. |

Prepared for:

Passenger Rail Agency of South Africa (PRASA)

System:

Meter Data Management System (MDMS)

## 1. Executive Summary

PRASA seeks to implement a Municipal Water Balancing solution using its MDMS platform. The goal is to accurately measure, monitor, and reconcile water supplied by municipalities with actual consumption at PRASA sites, in order to detect leaks, unauthorized consumption, billing anomalies, and system inefficiencies. This solution will support water demand management, non-revenue water detection, and sustainability compliance.

## 2. Business Objectives

- Reconcile municipal bulk supply vs. site-level consumption.

- Identify and quantify Non-Revenue Water (NRW).

- Detect leaks, overuse, meter faults, and losses.

- Support reporting for infrastructure planning and billing disputes.

- Improve operational efficiency and reduce water-related costs.

## 3. Stakeholders

| Role | Department | Responsibility |
| --- | --- | --- |
| Project Sponsor | PRASA Infrastructure Management | Approves and funds the initiative |
| Water and Sanitation Unit | Facilities Management | Manages water infrastructure |
| Finance | Utility Accounts | Uses water balance reports to verify bills |
| ICT | MDMS Operations | Ensures system integration and data availability |
| Municipalities | External | Provide bulk supply and billing data |

## 4. Current Challenges

- No integrated view of water inflow vs. outflow at PRASA sites.

- Water losses and leaks remain undetected until monthly bills arrive.

- Lack of evidence to challenge municipal bills.

- Difficulty in managing water infrastructure proactively.

- Unmetered or unmonitored zones increase risk of water theft.

## 5. Business Requirements

## 5.1 Water Zone Mapping

- Define water supply zones per PRASA facility or site.

- Map meters to physical locations and supply zones (inflow and subzones).

- Support hierarchical and overlapping zone definitions (e.g., main line > subzones > end-points).

## 5.2 Meter Data Integration

- Ingest real-time and historical water meter data from:

  - Municipal bulk supply meters.

  - Internal PRASA sub-meters (consumption points).

- Detect zero-flow, backflow, and continuous flow anomalies.

- Store meter metadata (serial number, calibration date, location, pipe size, type).

## 5.3 Water Balancing Logic

- Calculate inflow vs. sum of all known outflows.

- Flag imbalance % exceeding configurable thresholds.

- Support time-based balancing: hourly, daily, weekly, monthly.

- Account for storage tanks, pump stations, or reservoir delay where applicable.

## 5.4 Non-Revenue Water (NRW) Estimation

- Estimate apparent losses (meter inaccuracies, unauthorized usage).

- Estimate real losses (leaks, burst pipes).

- Calculate NRW percentage per zone and site.

- Trend analysis to detect worsening or improving performance.

## 5.5 Leak Detection Alerts

- Notify stakeholders when:

  - Continuous flow exceeds x hours.

  - Usage spikes or sudden drops exceed historical patterns.

  - Balance difference exceeds threshold.

## 5.6 Billing Reconciliation Support

- Compare municipal bulk supply meter data to municipal bills.

- Provide evidence for overbilling disputes.

- Summarize monthly balance reports with comments for finance.

## 5.7 Analytics and Reporting

- Dashboards:

  - Water inflow vs. usage trend

  - Daily losses per zone/site

  - Top 10 zones by NRW

- Exportable reports:

  - Monthly Water Balance Report

  - Losses and Leak Events Log

  - Meter Performance and Accuracy Audit

## 5.8 Integration Requirements

- MDMS integration for real-time and batch data from smart meters.

- GIS integration to visualize metered zones and pipelines.

- Financial system integration for billing support (SAP or similar).

- API interface to import municipal bulk water supply data.

## 5.9 Security and Access Control

- Role-based access (Water Engineer, Data Analyst, Finance, Admin).

- Secure storage of water balance data and audit logs.

- Compliance with PRASA ICT policies and security standards.

## 6. Functional Requirements

| ID | Requirement | Priority |
| --- | --- | --- |
| FR01 | Define and manage water supply zones and meter mapping | High |
| FR02 | Ingest and store water meter readings (inflow and outflow) | High |
| FR03 | Calculate zone-level water balances and imbalance percentages | High |
| FR04 | Generate NRW estimates per site/zone | High |
| FR05 | Alert on anomalies like leaks, flow deviations, and backflow | High |
| FR06 | Reconcile inflow data with municipal billing amounts | Medium |
| FR07 | Provide dashboards and scheduled reports | High |
| FR08 | Integrate with GIS and finance systems | Medium |
| FR09 | Enable secure access with audit logging | High |

## 7. Non-Functional Requirements

- Scalability: Support 200+ PRASA sites with water metering zones.

- Performance: Water balance calculations within 2 minutes per site.

- Availability: 99.5% system uptime for monitoring and alerting.

- Security: Role-based controls, encryption of all data.

- Reliability: Fault-tolerant data processing to handle meter outages.

## 8. Assumptions

- All relevant meters are functional and regularly reporting.

- Site GIS data is available for zone mapping.

- PRASA will provide tariff tables and access to municipal billing records.

- Municipalities will provide bulk meter data or access to meter endpoints.

## 9. Dependencies

- Existing MDMS capabilities and extensions.

- Site engineers to validate zone definitions and meter positions.

- Data integration with municipal systems (manual or automated).

- Access to historical billing and consumption data.

## 10. Risks & Mitigation

| Risk | Likelihood | Impact | Mitigation |
| --- | --- | --- | --- |
| Incomplete metering infrastructure | High | High | Roll out sub-metering as part of project |
| Inconsistent municipal data formats | High | Medium | Implement flexible import tools/templates |
| Poor network connectivity for real-time data | Medium | Medium | Use batch processing fallback |
| Incorrect zone mappings | Medium | High | Validate mappings with on-site inspections |

## 11. Glossary

- NRW: Non-Revenue Water – water supplied but not billed due to losses or theft.

- MDMS: Meter Data Management System.

- Inflow Meter: Bulk water meter from the municipality.

- Outflow Meter: Internal consumption meters in PRASA zones.

- Zone: A physical area or site under water monitoring.